## Worksheet 1
Processing step | Source of data superposition | Corrections (•) and further steps (→) | Tool for correction
Pre-processing and data quality control | • random and systematic errors • anthropogenic noise (cars, pedestrians, etc.) • instrumental effects (tilt, tension, etc.) | • spikes, jumps • running-in behaviour • oscillating values → finally averaging of values | • self-written Python-based software
Least squares adjustment | • tides • air pressure changes • instrumental effects • setup effects | • Earth tides • ocean loading tides • atmospheric pressure • instr. air-pressure effect • calibration factors • instr. height reduction → weighting of gravity meters → adjustment of linear drift | • GNLSA 1.01
Post-processing | • point subsidence • hydrological effects | • height changes on gravity points • soil water content | • self-written Python-based software • global model GLDAS